## Slide 1: Special Floor Loading Considerations in Typical Residential Construction
Overview
Revised 3/24/2017

## Slide 2
SBCA has been the voice of the structural building components industry since 1983, providing educational programs and technical information, disseminating industry news, and facilitating networking opportunities for manufacturers of roof trusses, wall panels and floor trusses. SBCA endeavors to expand component manufacturers’ market share and enhance the professionalism of the component manufacturing industry.
Copyright © 2017 Structural Building Components Association.

## Slide 3: Introduction
There are several floor loading issues that are not specifically addressed in the building codes that require special attention by designers to avoid serviceability issues with the floor system.
The lack of more specific serviceability requirements in the codes leaves room for interpretation.
This presentation will provide an industry position on designing floor trusses to better account for special floor loading issues.

## Slide 4: Introduction
Residential floor design is usually very simple:
  Estimate dead loads based on floor and subfloor materials
  Select live loads based on the intended purpose of the room
  Design the floor trusses or engineered wood products (EWP) to support the given loads at a particular span and spacing
Dead Loads
Live Loads

## Slide 5: Introduction
Because loads are unpredictable, it is simply assumed that a uniform load is distributed over the entire floor surface.
Although this simple approach is conservative the majority of the time, it does not account for every situation, such as:

## Slide 6: Introduction
Stone/Ceramic Tiles
  The use of brittle flooring surfaces such as stone, ceramic, or glass tiles require more stringent deflection limits than the building codes suggest.

## Slide 7: Introduction
Large Concentrated Loads
  Loads from sources such as aquariums, fireplaces, and granite countertops can be large and require consideration beyond the standard floor truss design load.

## Slide 8: Introduction
Floor Vibrations
  Although usually not a structural issue, vibrations caused by typical service conditions can be annoying to homeowner/occupants and can be reduced by stiffening the floor system.

## Slide 9: Key Definitions
SERVICEABILITY
  A state in which the function of a structure, its appearance, maintainability, durability and comfort of its homeowner/occupants are preserved under normal usage. This refers to, among other things, a structure that does not deflect or otherwise deform in a manner that suggests it is unsafe.
UNIFORM LOAD
  A distributed load or pressure applied to an area (typically given in units of pounds per square foot [psf]).
DEAD LOAD
  The weight of materials of construction incorporated into the building, including but not limited to walls, floors, roofs, ceilings, stairways, built-in partitions, finishes, cladding and other similarly incorporated architectural and structural items, and the weight of fixed service equipment, such as cranes, plumbing stacks and risers, electrical feeders, heating, ventilating and air conditioning systems and automatic sprinkler systems.

## Slide 10: Key Definitions
LIVE LOAD
  A load produced by the use and occupancy of the building or other structure that does not include construction or environmental loads such as wind load, snow load, rain load, earthquake load, flood load or dead load.
NATURAL FREQUENCY
  The frequency at which a system oscillates when not subjected to a continuous or repeated external force.
LONG TERM DEFLECTION
  Vertical deflection caused by the continuous presence of load over an extended period of time. Long term deflection in wood members is caused by a phenomenon known as “creep”.
CREEP
  Also known as “plastic flow”, creep is the act of permanent shortening under long term, continuous compressive stress. Wood members are susceptible to creep especially in long span members, members carrying substantial dead loads, and members that are subjected to large amounts of temperature and moisture change during their service life.

## Slide 11: Background
There are two main principles in the design of any structure:
  Strength
    The structure must be strong enough to support the loads it is designed to carry.
  Serviceability
    The structure must be “serviceable” or rigid enough that deflections, vibrations and other deformations are not noticeable, and do not adversely affect any non-structural building components.

## Slide 12: Background
The International Building Code (IBC) describes strength and serviceability limit states as the conditions beyond which a structure is considered unsafe and not useful respectively.

## Slide 13: Background
The strength aspect of design is typically the focus of engineers and designers (as it should be) since any errors in strength design could result in damage or collapse of the structure.
Serviceability, on the other hand, typically does not receive the same level of attention because the stakes are not as high.

## Slide 14: Background
The International Residential Code (IRC)
  Has never provided a specific limit state for serviceability
  It does provide live load deflection limits for various structural members
“L” is the floor structural member span in inches

## Slide 15: Background
The IBC
  Provides a table for deflection limits
  However, this guidance is fairly general and fails to capture specific serviceability related design conditions in many cases

## Slide 16: Background
The National Design Specification® (NDS®) for Wood Construction
  Provides no serviceability limits or guidance.
  It does state that the deflection of wood members needs to be considered in design.

## Slide 17: Analysis – Stone/Ceramic Tile
Stone and ceramic tiles are a popular flooring material due to its versatility, long life cycle and low maintenance.
However, certain problems arise if the tiling is not properly installed or if not enough consideration is given in the design of the supporting floor system.

## Slide 18: Analysis – Stone/Ceramic Tile
Since stone, ceramic and glass are brittle materials, they are more susceptible to cracking as a result of floor deflection.
The tile industry has known for some time that the standard L/360 maximum live load and L/240 maximum total load deflection limits provided by the building code are not adequate to prevent the cracking of tiles.

## Slide 19: Analysis – Stone/Ceramic Tile
Industry leaders such as the Tile Council of North America (TCNA) and the Marble Institute of America (MIA) suggest in their standards to use a stricter total load deflection limit of L/720 where stone tiles are used.
MIA Installation/General Information 3.8.3 Frame Construction. The subfloor areas over which stone tile is to be applied must be designed to have a deflection not exceeding L/720 of the span.

## Slide 20: Analysis – Stone/Ceramic Tile
TCNA provides a response to the question: “What is the acceptable deflection for a floor that will be tiled?”
  Traditionally, the accepted minimum requirement for floor rigidity is L/360 - before the tile underlayment is installed. The L/360 standard means that the floor should not deflect more than the "span" divided by 360. If the span of the joists is 10 feet (between supports), then the deflection should not be more than 1/3" between the center and the end. Frequently, there is misunderstanding regarding deflection between joists. For example, while joist manufacturers regularly meet the standard L/360 criteria for code construction with 24" o.c. (on center) systems, these floors often have deflection between the joists exceeding L/360.
  Recent research has shown tile to fail, under some conditions, when the floor is more rigid than L/360. In fact, failures at L/600 have been observed. It is for this reason that recommendations for floor rigidity are not based on deflection measurements but on empirically established methods found to work over normal code construction.

## Slide 21: Analysis – Stone/Ceramic Tile
The National Design Standard for Metal Plate Connected Wood Trusses, ANSI/TPI 1-2014 states certain floor coverings require more restrictive deflection criteria than the deflection limits provided in Table 7.6-1.
  ANSI/TPI 1 Table 7.6-1 Footnote 2: For ceramic tile, Truss spacing and appropriate dead load for the installation method, and other aspects of design per ANSI A108/A118/A136 shall be such that the system passes the requirements of the Building Designer per Chapter 2 of this standard (ANSI/TPI 1).

## Slide 22: Analysis – Stone/Ceramic Tile
Earlier editions of ANSI/TPI 1 explicitly referenced a 16-inch o.c. spacing limit for some floor coverings.
Now, ANSI/TPI 1 just references ANSI A108/A118/A136 for truss spacing since there are a number of available systems that allow 19.2" and 24" o.c. spacing of supporting trusses.

## Slide 23: Analysis – Stone/Ceramic Tile
The American National Standard Specifications for Installation of Ceramic Tile ANSI A108 states total load deflection criterion should be L/360:
ANSI A108 Section AN-2.3 Deflection. Floor areas over which tile is directly bonded to subfloor shall not have a deflection greater than L/360 of the span when tested per ASTM C627. Make allowances for live load and impact as well as all dead load, including weight of tile and setting bed.
NOTE: Stone tile installations may require a more rigid substrate. Refer to MIA recommendations.

## Slide 24: Analysis – Stone/Ceramic Tile
Designing with stone or ceramic tile requires consideration of deflection requirements in the design phase which may not be common knowledge, as they are not found in the building code.
Trusses may need to be deeper, higher grade, or spaced closer together.

## Slide 25: Analysis – Stone/Ceramic Tile
While overall deflection is important, minimizing localized deflections can be crucial to performance.
Stiffening the subfloor in areas where brittle tiles are used will help prevent issues with differential settlement either between trusses or within a single panel of a truss.

## Slide 26: Analysis – Stone/Ceramic Tile
The design of the trusses must consider the added weight of tile flooring.
The dead load from a typical stone tile (with subfloor) can be as high as 20 psf, which will increase the long term deflection in the floor system compared to a typical floor having only 5 to 10 psf dead load.

## Slide 27: Analysis – Stone/Ceramic Tile
In general, the provisional deflection criteria set by the IRC/IBC and its referenced standards are a short-term criteria.
ANSI/TPI 1-2014 Section 7.6 provides guidance on how to predict time dependent deformation under long term loading:
ANSI/TPI 1 Section 7.6 DEFLECTION
7.6.1 Method of Calculation.
ΔLongTerm = Kcr x ΔLT + ΔST

## Slide 28: Analysis – Stone/Ceramic Tile
Excessive deflection is not the only reason cracking occurs in brittle type tiles.
Cracking in tiles can also be caused by
  Uneven subfloor surface
  Bearing height differential
  Improper installation techniques for the subfloor or tile

## Slide 29: Analysis – Heavy Concentrated Loads
Wood floor truss systems are commonly designed to carry a uniformly distributed load.
The floor truss system is designed assuming this uniform load is applied over the entire floor area.
Dead Load 10 psf
Live Load 40 psf

## Slide 30: Analysis – Heavy Concentrated Loads
Since, in reality, an entire floor area is never simultaneously loaded, this approach is usually conservative.
This is unavoidable given the uncertainty of the live loads the floor will actually be subjected to.

## Slide 31: Analysis – Heavy Concentrated Loads
Uniform loading may not be adequate to account for heavy concentrated loads.
The building design drawings should always be checked to make sure any such loads are identified and accounted for in the floor design.
Water bed
Granite
Countertop

## Slide 32: Analysis – Heavy Concentrated Loads
For certain non‑residential structures, the IBC specifies a minimum concentrated load that must be considered at any point on the floor of the structure.
Although not required for residential buildings, it can be beneficial to consider a moveable concentrated load at critical locations on a structure’s floor plan.
300#
x

## Slide 33: Analysis – Heavy Concentrated Loads
A 300 lb. load acting over an area of 2" x 2" is a good suggestion since it is the same requirement given by the IBC for stairways and exits in one and two family dwellings.
The 300 lb. load need not be considered to act concurrently with the uniform live load.
300#

## Slide 34: Analysis – Heavy Concentrated Loads
The use of a minimum concentrated live load in floor design can provide peace of mind and the ability to add extra loads to a floor system (within the limits of the design load).
If a concentrated live load is not considered in the initial design, the following suggestions can be helpful:

## Slide 35: Analysis – Heavy Concentrated Loads
Try to place concentrated loads over or near underlying columns or bearing walls. Remember that not all walls are bearing walls, so be sure to check.

## Slide 36: Analysis – Heavy Concentrated Loads
Position concentrated loads such that they are carried by multiple floor trusses.

## Slide 37: Analysis – Heavy Concentrated Loads
Add concentrated loads to smaller rooms that have shorter, stiffer trusses (assuming trusses are the same size and spacing throughout the structure).

## Slide 38: Analysis – Heavy Concentrated Loads
Use proper strongbacks and bridging between trusses to increase interconnectivity and help distribute load more effectively.
  Use minimum 2x6 nominal lumber oriented with the depth vertical.
  Attach strongbacking to each truss with a minimum of three (3) 10d (0.131x3.0") nails. Shim the joint between the strongback and truss to ensure solid connection.
  Spacing should not exceed 10′.

## Slide 39: Analysis – Floor Vibration
Vibration in residential buildings has not historically been an issue because floor spans have typically been relatively short.
With advances in building components and structural design methods, floors are able to span greater distances, which makes them more flexible and susceptible to vibrations.

## Slide 40: Analysis – Floor Vibration
Vibrations in a floor system can be caused by something as simple as pedestrian foot traffic.
Vibration can be very subjective.
What one person considers to be an annoying level of vibration might be completely unnoticeable to someone else.

## Slide 41: Analysis – Floor Vibration
The natural frequency of a structural member has a direct relationship with the beam’s flexural stiffness.
A stiffer floor system will have a higher natural frequency and vibrations through that system will likely go unnoticed by its inhabitants.
Humans are most sensitive to vibrations with frequencies between 4 and 10 Hz.
1 second
4 Hz
10 Hz
>10 Hz

## Slide 42: Analysis – Floor Vibration
Just because a floor system meets building code requirements for serviceability, does not mean it is immune to vibration issues.
Vibration issues are especially prevalent in “sleeping rooms”, which can be designed using a uniform live load of only 30 psf rather than the typical 40 psf in a residential structure.

## Slide 43: Analysis – Floor Vibration
Rooms originally designed as sleeping rooms are often repurposed, and end up seeing much more human activity than the design intended.

## Slide 44: Analysis – Floor Vibration
At 30 psf and L/360 the floor trusses can be designed more shallow and flexible, while still meeting code.
A floor system with flexible trusses will have a low natural frequency and will invite unwanted vibrations.

## Slide 45: Analysis – Floor Vibration
Most designers use a floor span-to-depth limitation (L/d = span in inches divided by depth in inches) of 20 to prevent objectionable floor vibration.
Designing a floor to a higher deflection ratio does not guarantee acceptable performance for all, but typically an L/d ratio of 16 provides minimal vibration.

## Slide 46: Analysis – Floor Vibration
There are three main methods to reduce vibration.
The easiest method is to increase the deflection criteria used in the floor design above the code minimum.
  This will increase the stiffness of the floor system, especially when dealing with longer truss spans.
∆LL = L/360, ∆TL = L/240
∆LL = L/480, ∆TL = L/360
∆LL = L/720, ∆TL = L/480

## Slide 47: Analysis – Floor Vibration
Another method is to improve the floor sheathing connection to the floor system.
  Glue in combination with screws will yield the greatest results.
  This will improve the performance of the floor diaphragm and help distribute localized forces to neighboring floor trusses.

## Slide 48: Analysis – Floor Vibration
A third method involves attaching strongback bracing as recommended on floor trusses.

## Slide 49: Conclusion
By designing a floor system to be slightly above and beyond the minimums required by the building code, several issues can be addressed.
What follows are industry recommendations to address special floor loading to increase floor system stiffness and limit deflections.

## Slide 50: Conclusion
Glue the underlayment to the subfloor and fasten with screws rather than nails, and install strongbacks.

## Slide 51: Conclusion
The Building Designer should establish what deflection, load and on-center spacing requirements apply to any particular floor covering at the time of design.

## Slide 52: Conclusion
All parties in the design process should be aware that as truss spans and material weight increase, so does the risk for serviceability and performance issues.
  Truss Designers should get information from the Building Designer in writing so the trusses are designed stiff enough to avoid serviceability issues.
Water bed
Granite
Countertop

## Slide 53: Conclusion
Ceramic Tile:
  Suggested live load and total load deflection of L/360
  Add weight to top chord dead load as directed by manufacturer (use 7 psf if weight is unknown)
Stone Tile:
  Suggested total load deflection of L/720
  Add weight to top chord dead load as directed by manufacturer
Granite Countertops:
  Unless exact locations are specified, add an additional 20 psf to the top chord dead load for counters with up to 2 inches of granite

## Slide 54: Example – Code Compliant vs Special Loading
Consider a kitchen area in which stone floor tiles will be used. In addition, a 4' wide island with a granite countertop will be installed in the center of the floor span.

## Slide 55: Example – Code Compliant vs Special Loading
Assumptions:
  Floor trusses are 18" deep with SPF No. 2, 2x4 top and bottom chords spaced at 24" on center.
  Floor truss span is 22'
  Dead load from stone tile floor (including subfloor) is 20 psf
  Floor live load is 40 psf (per IBC and IRC codes)
  Granite topped island acts as a 200 lb. concentrated load (per truss) at the center of the span
  Floor trusses are analyzed as being simply supported beams
  Critical load combination = 1.0D + 1.0L

## Slide 56: Example – Code Compliant vs Special Loading
The resulting deflections for this condition are calculated below in which the first term is the deflection from the uniform dead and live loads, and the second term is the deflection from the concentrated midspan load from the island. (Simplified beam deflection calculations are used for this example):

## Slide 57: Example – Code Compliant vs Special Loading
The standard deflection limit of L/360, or 0.733" (264/360) in this example, is satisfied.
However, the recommended limit for floors supporting stone tiles of L/720, or 0.367" (264/720) in this example, is substantially exceeded.
This could lead to cracking in the tiles and the floor system should therefore be made stiffer to eliminate some of the deflection.

## Slide 58: Example – Code Compliant vs Special Loading
Some common options to stiffen a floor system include:
  Increasing the depth of the floor truss
  Selecting a wood grade (specifically for the truss chords) with a higher modulus of elasticity (E)
  Reducing the truss spacing
  Reducing span (typically not an option)

## Slide 59: Example – Code Compliant vs Special Loading
One possible solution could include:
  Increase the truss depth to 21"
  Use SP No. 1, 2x4 chords, which have a greater modulus of elasticity
  Reduce the joist spacing to 19.2" o.c.
Doing so yields the following deflection:

## Slide 60: Example – Code Compliant vs Special Loading
With the modifications to the design, the deflection meets the stricter requirements for tile flooring.
The modified design is further beneficial because the narrower truss spacing will result in less deflection between trusses and will allow forces to be distributed between trusses more efficiently.

## Slide 61: Example – Code Compliant vs Special Loading
To determine if vibration will be an issue, it can be calculated that a beam of any length having a dead load deflection below 0.055" will have a natural frequency that is greater than 15 Hz, which places it outside of the range of human sensitivity.
This rule of thumb, from a paper by Castle and Pormerleau, is derived by combining the equations for calculating the natural frequency and deflection of a beam to output a deflection value below which vibration should not be an issue.

## Slide 62: Example – Code Compliant vs Special Loading
In the example above, the dead load deflection for both scenarios is greater than 0.055" threshold, which means the natural frequency of the truss is within range of human sensitivity and the floor system could be susceptible to vibration issues.
Note that this criteria is more restrictive for longer spans than other criteria.

## Slide 63: References
2012 IRC Section R301.7
2012 IBC Section 1604.3
Marble Institute of America, Installation/General Information, 2011
Tile Council of North America
SBCA Structural Details
Serviceability of Floor Systems in Existing Residential Timber Frame Structures, Thomas Castle and David Pomerleau